ELECTRIC PROCESS HEATER DATASHEET

Doc No.: DS-0013-H

Tag No.: SYN-H-0001

| Description | Value |
| --- | --- |
| Rated power | 36 kW |
| Supply voltage | 400 V |
| Number of phases | 3 |
| Design pressure | 10 barg |
| Design temperature | 250 °C |
| Watt density | 3.5 W/cm2 |
| Element sheath material | Incoloy 800 |
| Terminal box protection | IP66 |
| Thermostat setting |  |